## Sheet1
Date of Sampling | Date of Analysis | Source | Well Id | Area | Client | Type of water | Parameter Type | Parameter | Unit | Result | Maximum Permissible Concentration |  | Data Source
[11 empty] | WHO | Ethiopia Standard
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Physical | Conductivity | Us/cm | 2526 |  | 3552 | Boren BH12 2nd Dire Dawa 06.11.2021.docx
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Physical | Turbidity | FTU | 46.7 | 5
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Physical | TDS |  | 1263 | 1000 | 1776
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Physical | pH | ‘’ | 6.92 | 6.5-8.5 | The same
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Physical | Temperature | 0c | 33.2 |  | Non
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Total Hardness | Mg/l | 626.3 | 300 AP | 392
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Calcium | ‘’ | 134 | 75
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Calcium hardness |  | 345 | 187 | 187
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Magnesium | ‘’ | 71 | 50
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Magnesium hardness |  | 291 | 205 | 205
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Iron | ‘’ | 0.19 | 0.3AP | 0.4
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Potassium | ‘’ | 3.2 | 1.5
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Fluoride | ‘’ | 2.5 | 1.5 D | 3
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Sulphate | ‘’ | 190 | 250 | 483
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Chloride | ‘’ | 91 | 250 | 533
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Sodium | ‘’ | 59.15 | 200 | 358
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Sodium chloride | ‘’ | 150
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Nitrite (N) |  | Trace
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Nitrite (NO2) | Trace | Trace | 3.0 D | 6
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Nitrate (N) | 4.1 | 7.1
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Nitrate (NO3) | 18.04 | 31.24 | 50 D | 50
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Ammonia (N) | 0.72 | 1.5 | 1
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Ammonia (NH3) | 0.87 | 1.8 | 1.5
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Total alkalinity as CaCO3 | ‘’ | 252
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Bicarbonate (HCO3) | ‘’ | 307.44
2021-11-07 | 2021-11-08 | Ground Water Well | BH# 12 (2nd time) | Boren, Dire Dawa, Ethiopia | Dire Dawa Water Supply and Sewerage Authority | Untreated | Chemical | Carbonate |  | 143
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Physical | Conductivity | Us/cm | 2135 | 2000 |  | gende rige pw01.2018 bore hole 07.3.2019.docx
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Physical | Turbidity | FTU | 23 | 5
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Physical | TDS |  | 1069 | 1000
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Physical | pH | ‘’ | 6.89 | 6.5-8.5
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Physical | Temperature | 0c | 27.6
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Total Hardness | Mg/l | 528 | 400
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Calcium | ‘’ | 102 | 75
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Calcium hardness |  | 255 | 187.5
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Magnesium | ‘’ | 65 | 50
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Magnesium hardness |  | 273 | 210
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | potassium | ‘’ | 4.7 | 1.5
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Iron | ‘’ | 0.09 | 0.03
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Manganese | ‘’ | 0.11 | 0.1
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Fluoride | ‘’ | 1.5 | 3
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Sulphate | ‘’ | 195 | 250
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Chloride | ‘’ | 110 | 250
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Sodium | ‘’ | 71.5 | 200
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Nitrite (N) | ‘’ | 0.09
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Nitrite (NO2) | ‘’ | 0.29 | 1
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Nitrate (N) | ‘’ | 9.52
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Nitrate (NO3) | ‘’ | 41.88 | 50
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Ammonia (N) | ‘’ | 1.5
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Ammonia (NH3) | ‘’ | 1.8 | 1.2
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Total alkalinity as CaCO3 | ‘’ | 235 | 200
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Bicarbonate (HCO3) | ‘’ | 290
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Chemical | Carbonate |  | 140
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Microbiological | Total coliform bacteria |  | 05/ 100 ml | Should not be detect
2019-03-02 | 2019-03-07 | Ground Water Well | GR-PW-01-2018 (24hr) | GEDE RIGE, MELKA JEBDU, DIRE DAWA, ETHIOPIA | - | Untreated | Microbiological | Faecal coliform bacteria |  | 0/ 100 ml | Should not be detect
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Physical | Conductivity | Us/cm | 923 | 2000 |  | gende osman adam by atlas water well 14.3.2019.docx
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated |  | Turbidity | FTU | 4.76 | 5
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated |  | TDS |  | 461 | 1000
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated |  | pH | ‘’ | 7.96 | 6.5-8.5
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated |  | Temperature | 0c | 28.9
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Total Hardness | Mg/l | 524 | 400
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Calcium | ‘’ | 92 | 75
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Calcium hardness |  | 229 | 187.5
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Magnesium | ‘’ | 70 | 50
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Magnesium hardness |  | 295 | 210
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | potassium | ‘’ | 2.1 | 1.5
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Iron | ‘’ | 0 | 0.03
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Manganese | ‘’ | 0.09 | 0.1
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Fluoride | ‘’ | 1.01 | 3
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Sulphate | ‘’ | 134 | 250
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Chloride | ‘’ | 40 | 250
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Sodium | ‘’ | 30 | 200
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Nitrite (N) | ‘’ | 0
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Nitrite (NO2) | ‘’ | 0 | 1
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Nitrate (N) | ‘’ | 11
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Nitrate (NO3) | ‘’ | 48.4 | 50
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Ammonia (N) | ‘’ | 0.49
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Ammonia (NH3) | ‘’ | 0.59 | 1.2
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Total alkalinity as CaCO3 | ‘’ | 340 | 200
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Bicarbonate (HCO3) | ‘’ | 410
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Chemical | Carbonate |  | 200
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Microbiological | Total coliform bacteria |  | 03/ 100 ml | Should not be detect
2019-03-13 | 2019-03-13 | Ground Water Well | GR-02-2018 (48 hr) | GENDE OSMAN ADAM | DDWSSA | Untreated | Microbiological | Faecal coliform bacteria |  | 0/ 100 ml | Should not be detect
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Physical | Conductivity | Us/cm | 2255 | 2000 |  | BOREN JEDEN BH09 28.06.2019.docx
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Physical | Turbidity | FTU |  | 5
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Physical | TDS |  | 1120 | 1000
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Physical | pH | ‘’ | 6.51 | 6.5-8.5
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Physical | Temperature | 0c | 27.3
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Total Hardness | Mg/l | 865 | 400
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Calcium | ‘’ | 202 | 75
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Calcium hardness |  | 505 | 187.5
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Magnesium | ‘’ | 75 | 50
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Magnesium hardness |  | 315 | 210
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | potassium | ‘’ | 4.4 | 1.5
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Iron | ‘’ | 0 | 0.3
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Fluoride | ‘’ | 1.75 | 3
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Sulphate | ‘’ | 185 | 250
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Chloride | ‘’ | 35 | 250
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Sodium | ‘’ | 23 | 200
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Sodium Chloride |  | 58
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Nitrite (N) |  | 0
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Nitrite (NO2) |  | 0 | 1
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Nitrate (N) |  | 11.5
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Nitrate (NO3) |  | 50.6 | 50
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Ammonia (N) |  | 2
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Ammonia (NH3) |  | 2.2 | 1.2
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Total alkalinity as CaCO3 | ‘’ | 240 | 200
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Bicarbonate (HCO3) | ‘’ | 295
2019-06-27 | 2019-06-28 | Ground Water Well | BH #09 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Carbonate |  | 145
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Physical | Conductivity | Us/cm | 2119 | 2000 |  | BOREN JEDEN BH08 28.06.2019.docx
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Physical | Turbidity | FTU |  | 5
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Physical | TDS |  | 1057 | 1000
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Physical | pH | ‘’ | 7 | 6.5-8.5
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Physical | Temperature | 0c | 28.8
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Total Hardness | Mg/l | 810 | 400
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Calcium | ‘’ | 170 | 75
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Calcium hardness |  | 420 | 187.5
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Magnesium | ‘’ | 95 | 50
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Magnesium hardness |  | 390 | 210
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | potassium | ‘’ | 4.9 | 1.5
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Iron | ‘’ | 0.08 | 0.3
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Fluoride | ‘’ | 1.48 | 3
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Sulphate | ‘’ | 178 | 250
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Chloride | ‘’ | 105 | 250
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Sodium | ‘’ | 55 | 200
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Sodium Chloride
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Nitrite (N) |  | 0.02
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Nitrite (NO2) |  | 0.08 | 3
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Nitrate (N) |  | 16.6
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Nitrate (NO3) |  | 73.04 | 50
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Ammonia (N) |  | 0.96
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Ammonia (NH3) |  | 1.15 | 1.2
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Total alkalinity as CaCO3 | ‘’ | 310 | 200
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Bicarbonate (HCO3) | ‘’ | 380
2019-06-28 | 2019-06-28 | Ground Water Well | BH #08 | BOREN JEDENE | DDWSSA | Untreated | Chemical | Carbonate |  | 190